Crayfish Lab supplies

Bipolar electrode:

1/16” OD suction fitting

Tubing 0.0625” ID

4/64” (1/16”, 0.0625”) OD for small pins -- tentative

6/64” (3/32”, 0.0938”) for big pin – tentative

Other electrodes:

0.032” (1/32”) OD pin – that is the small size that is used for the ground electrode

Polyethylene Tubing:

3 each of 1 10’ length

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10' | 0.062 x 0.082" | 205 | 0.010" | 427445 | 63018-806 | Each (10Feet) | $47.97 |  |
|  |  |  |  |  |  |  |  |  |

Hypodermics:

100? 16G hypodermic needles (0.065” OD)

25? Stop cocks with Luer Lock Fittings (2-way or 3-way)

25 50 ml syringes